## Slide 1
GALENA TERRITORIES AND APPLE CANYON MEETING
AUGUST 6th, 2024

## Slide 2
AGENDA
Introductions/Values
Regulations
Water Quality Reports
Billing/Payment Processing
Interpreting Bills
Source Water Assessments and Future Projects

## Slide 3
PERSONNEL AND VALUES
Personnel
  Justin Kersey – President
  Mike Miller – Vice President of Operations
  Steve Winter – Operations Manager
  Tanya Peters – Administrative Support
  Andrew Dickson – Finance Manger
  David Hankins – Safety & Compliance
Prairie Path Water Company
  Nexus/PPWC Values driving Operational Excellence
    Safety First
    Customer Care
    Employee Success
    Environmental Stewardship

## Slide 4
Illinois Commerce Commission (ICC):
  Commissioners are appointed by Governor
  ICC determines rates, rules and regulations
  Enforce certain preventative standards (e.g meter testing)
Environmental Protection Agency (EPA):
  Federal and State agencies
  Enforce treatment standards, sampling requirements and required monthly and annual reporting
  Required BWO if distribution pressure drops below 20 psi
  Get the Lead Out initiative
Internal (HSE):
  Required Preventative Maintenance measures
  Bi-annual flushing, asset inspections and condition assessments for Asset Management Program
REGULATIONS

## Slide 5
Get the lead out initiative
  EPA initiative (federal government)
  Lead is toxic to humans, especially when it contaminates drinking water. While lead has been virtually eliminated from public utility water systems, it can still be found in older home plumbing. The U.S. EPA has declared the elimination of lead in drinking water a national health priority, with a key focus being Lead Service Lines — the pipes that connect homes and businesses to public watermains.
Ways to identify
  Completing survey on company website with clear photos of service line attached
    Operations may still reach out if clear photos aren’t attached to schedule a time to inspect service line
  Schedule time with operations to come in your home and have them identify service line. (this should only take about 5 minutes)
Current statistics
  118 of 960 homes left to identify in Apple Canyon
  602 of 2233 homes left to identify in Galena
  No lead lines found in either system at this time
SERVICE LINE INSPECTIONS

## Slide 8
WATER QUALITY
REPORT
- Galena -2023

## Slide 9
WATER QUALITY
REPORT
- Galena -2023

## Slide 10
WATER QUALITY
REPORT
- Apple Canyon -2023

## Slide 11
WATER QUALITY
REPORT
- Apple Canyon -2023

## Slide 12
JULIE - CALL BEFORE YOU DIG

## Slide 13
Third-party lockbox processor now in Carol Stream, IL
My Utility Account will be helpful in receiving paperless bills and alerts/notifications via email. Manage alert preferences via MUA
  Mailers are still mailed even with paperless billing
BILLING/PAYMENT PROCESSING

## Slide 15
New Source Water Protection Plans developed in 2024
Prairie Path Water Company is committed to Source Water Protection Programs with the purpose of ensuring the safety, integrity and sustainability of our communities’ drinking water, for current and future generations to come.
All the wells are shallow bedrock wells except Shenandoah Well 1 and Eagle Ridge Resort Core Well 1 which are deep bedrock wells. Eagle Ridge Well 2 has a high susceptibility to surface contamination because it is a shallow bedrock well and is in the A1 rating. Shenandoah Well 2 and Thunder Bay West Well 2 have a low susceptibility to surface contamination even though they are shallow wells because they are in the F rating. Eagle Ridge Resort Core Well 1 has a low susceptibility to surface contamination because it is a deep bedrock well even though it is in the susceptible A1 rating. Shenandoah Well 1 is also a deep bedrock well in addition to being in the F rating so it has a very low susceptibility to surface contamination.
SOURCE WATER ASSESSMENT - GALENA

## Slide 16
New Source Water Protection Plans developed in 2024
Prairie Path Water Company is committed to Source Water Protection Programs with the purpose of ensuring the safety, integrity and sustainability of our communities’ drinking water, for current and future generations to come.
Both of the system’s wells are deep bedrock wells, so they have minimal susceptibility to contamination unlike shallow wells in this rating. The bedrock layers including the Maquoketa Shale, which is near the surface, protect the well intake zone from nearly all possible surface contamination. Therefore, the geologic susceptibility to contamination of groundwater pumped by the wells is considered low.
  Sites within the well’s 200- and 1,000-foot setback zones were considered as possible threats to groundwater quality. There were no point source contaminants identified for Wells 1 and 3 within the setback zones of the wells.
SOURCE WATER ASSESSMENT – APPLE CANYON

## Slide 17
Asset Management Program
  Review of assets and their condition to determine likelihood of failure and consequence of failure. Then prioritize projects accordingly.
2024
  Coordinating with Apple Canyon Lake Association on their spillway project​
  Continued review and analysis of district meters to assist with leak detection and reduction of unaccounted for water. ​
  Galena system pressure analysis. ​
  Service line replacements​
  Galena Sanitary sewer CCTV maintenance and rehabilitation of deficiencies
2025
  Service line replacements​
  Galena Sanitary sewer CCTV maintenance and rehabilitation of deficiencies
  Galena WWTP Package Plant #3 Rehab
FUTURE PROJECTS

## Slide 18
2026+
  Galena Shenandoah Reservoir Cleaning and Rehabilitation​
  Galena Resort Core Reservoir Cleaning and Rehabilitation​
  Apple Canyon Tank Rehab
  Service line replacements​
  Galena Sanitary sewer CCTV maintenance and rehabilitation of deficiencies
FUTURE PROJECTS